Drop-off and car parking

- There is space for drop-off either on Smedley Street to access the main entrance or at the rear of County Hall on the terrace car park near to the lower ground floor accessible entrance.

- There are some accessible parking bays on Smedley Street close to the main entrance but these are not marked with transfer zones.

- There are some accessible parking bays, with marked transfer space, on the terrace car park outside the adult care block, which is a short walk from the lower ground floor accessible entrance over relatively level ground.

Entrances

- The main entrance to County Hall is off Smedley Street.  Smedley Street itself is fairly level outside County Hall but the surrounding areas of Matlock are steep so pedestrian access could be problematic although there are bus stops close by.

- Equally, the area immediately outside the lower ground floor accessible entrance is level but pedestrian access routes to it are sloping, and in some cases steep.

- There is level access into the main entrance through wide automatic entrance doors.  This entrance is at the same level as the meeting room.

- There is level access into the lower ground floor entrance off the terrace.  The entrance doors are automatic sliding.  There is a slightly sloping corridor that leads to a passenger lift and then up to the ground floor where the meeting room is located.

Reception

- There is a staffed reception at ground floor next to the main entrance and lift.  Visitors must sign in here.

- There is a hearing loop on the reception.

- The reception is accessible to wheelchair users.

- There is a waiting area with seating.

Toilets

- Toilets are clearly signposted.

- There are male and female toilets at ground floor.

- There is an accessible toilet/baby change at ground floor.

- There is a Changing Places toilet at ground floor.

Access to the meeting room

- Access to the meeting room (from reception) is via a sloping corridor (with handrail support on one side.

The meeting room

- Access into the meeting room is via two sets of manual, heavy, double doors.

- Both sets of doors will stay in the open position once they’ve been opened and pushed back.

- The first set has a clear width through both doors (when held open) of 1000mm.  The clear width through one door leaf is 600mm.

- The first set of doors has vision panels starting at 830mm above floor level and these doors lead into a small lobby (1370mm x 2400mm).

- The second set of doors lead from the lobby into the meeting room.  They do not have vision panels.  The clear opening width through both doors is 1200mm (when held open) and through one leaf is 610mm.

- There is a hearing loop system.

- There are no refreshment facilities in the room, but these can be booked if required.

- There is sufficient room for manoeuvrability around the central table; however, there are is a step up around the perimeter of the room leading to the alcove and window seating areas.

- There are two types of seating available (plus alcove benching), both standard chairs, some have armrests, some do not.

- Furniture is moveable.

- There is space at the table for wheelchairs.

- The sockets are at low level but the light switches and controls for the room are in the lobby, at high level, and are difficult to understand.

- The pulleys to operate the windows and blinds are located up the perimeter step.

- There is a projector screen in the room, this comes down from the ceiling above one of the alcoves – the controls for this are located at low level but they are up an alcove step (due to the location they may still be reachable by a wheelchair user).

- The room is well lit.

# Text boxes

Access Audit

Committee Room 1 – County Hall