Drop-off and car parking

- There is space for drop-off either on Smedley Street to access the main entrance or at the rear of County Hall on the terrace car park near to the lower ground floor accessible entrance.

- There are some accessible parking bays on Smedley Street close to the main entrance but these are not marked with transfer zones.

- There are some accessible parking bays, with marked transfer space, on the terrace car park outside the adult care block, which is a short walk from the lower ground floor accessible entrance over relatively level ground.

Entrances

- The main entrance to County Hall is off Smedley Street.  Smedley Street itself is fairly level outside County Hall but the surrounding areas of Matlock are steep so pedestrian access could be problematic although there are bus stops close by.

- Equally, the area immediately outside the lower ground floor accessible entrance is level but pedestrian access routes to it are sloping, and in some cases steep.

- There is level access into the main entrance through wide automatic entrance doors.  This entrance is at the same level as the meeting room.

- There is level access into the lower ground floor entrance off the terrace.  The entrance doors are automatic sliding.  There is a slightly sloping corridor that leads to a passenger lift and then up to the ground floor where the meeting room is located.

Reception

- There is a staffed reception at ground floor next to the main entrance and lift.  Visitors must sign in here.

- There is a hearing loop on the reception.

- The reception is accessible to wheelchair users.

- There is a waiting area with seating.

Toilets

- Toilets are clearly signposted.

- There are male and female toilets at ground floor.

- There is an accessible toilet/baby change at ground floor.

- There is a Changing Places toilet at ground floor.

Access to the meeting room

- Access to the meeting room (from reception) is via a sloping corridor (with handrail support on one side) and through two sets of heavy, internal double doors into Committee room 1 and then through a further set of internal double doors into the meeting room – this route can only be used if Committee room 1 is vacant.  If Committee room 1 is engaged, access is still via the sloping corridor, (but the handrail support ends after the main Committee room 1 entrance doors) then out onto the upper terrace through two sets of heavy, narrow double doors at the end of the sloping corridor, then in through a set of external narrow double doors (700mm clear

opening width through one door – the doors do not stay in the open position so it may be difficult to open and get through them both if unassisted) and up an internal ramp (with handrails) which leads to the main door of the meeting room.

The meeting room

- The door into the room is solid with no vision panels.

- The door is manual but relatively easy to open and will stand open.

- The clear opening width through the door is 1070mm (wide).

- There are no refreshment facilities in the room although these can be booked.

- There is a hearing loop system in the room.

- There is a large table in the middle of the room which is virtually impossible to move as it is very heavy.  There is room to manoeuvre on either side but the space is very tight between the ends of the table and the adjacent walls.  There is space for wheelchairs at the table.

- Seating is generally swivel padded chairs with armrests, but there a few standard chairs without armrests available.  There are also some low level benches in the alcove area.

- There is a moveable projector screen in the room.

- The room is well lit.

- The window and blind controls are at a low height.

- The light switches and controls for the room are at a low height but there is a large table in front of them so they may not be accessible to all.

# Text boxes

Access Audit

Committee Room 2 – County Hall