Drop-off and car parking

- There is space for drop-off either on Smedley Street to access the main entrance or at the rear of County Hall on the terrace car park near to the lower ground floor accessible entrance.

- There are some accessible parking bays on Smedley Street close to the main entrance but these are not marked with transfer zones.

- There are some accessible parking bays, with marked transfer space, on the terrace car park outside the adult care block, which is a short walk from the lower ground floor accessible entrance over relatively level ground.

Entrances

- The main entrance to County Hall is off Smedley Street.  Smedley Street itself is fairly level outside County Hall but the surrounding areas of Matlock are steep so pedestrian access could be problematic although there are bus stops close by.

- Equally, the area immediately outside the lower ground floor accessible entrance is level but pedestrian access routes to it are sloping, and in some cases steep.

- There is level access into the main entrance through wide automatic entrance doors.  This entrance is at ground floor.

- There is level access into the lower ground floor entrance off the terrace.  The entrance doors are automatic sliding.  There is a slightly sloping corridor that leads to a passenger lift and then up to the ground floor.

Reception

- There is a staffed reception at ground floor next to the main entrance and lift.  Visitors must sign in here.

- There is a hearing loop on the reception.

- The reception is accessible to wheelchair users.

- There is a waiting area with seating.

Toilets

- There are male and female toilets at first floor close to the meeting room.

- There is a partially accessible male toilet at first floor near the meeting room which may be suitable for some wheelchair users.

- There is an accessible toilet/baby change at ground floor.  Access to this would be back along the first floor corridor, down in the 2nd lift and back along the ground floor corridor to the reception.

- There is a Changing Places toilet at ground floor.

Access to the meeting room

- Access to the meeting room (from reception) is via the main (level) corridor at ground floor to the very end and through a set of automated doors to the 2nd lift (at the opposite end of the building to the reception), up to the first floor then through a set of manual double doors and along to the meeting room, passing through a further set of manual double doors.  Both sets of double doors are fairly heavy to open, and do not stay in the open position once pushed/pulled.  The clear width through one door is 760mm.

- People who are able to negotiate steps can access the meeting room from the main lift (there are steps on the 1st floor corridor that leads from the main lift).

The meeting room

- The door is in a recess that is 810mm wide.

- The door is easy to open, it is manual, there are no vision panels and the clear width through it is 800mm.

- The room has automatic lights and is well lit.

- There is a large central table with access around it for wheelchair users.  There is a second smaller table in the room.

- There is good manoeuvrability space around the room.

- There are standard chairs, some with armrests, and some without.

- There is no presentation equipment in the room.

- There are no refreshment facilities in the room but these can be booked in advance if required.

- There is no hearing loop system.

- There are low level sockets.

- The windows are frosted glass and do not open.

- There is easy access to the window blind controls.

# Text boxes

Access Audit

Room 129 (Meeting Room 5) – County Hall